Section VII

TECHNICAL SPECIFICATIONS

Procuring Entity: City Government of Tabaco City

Contract ID No.: 005-06-2020-GOODS

Name of the Project: Supply & Delivery of One Unit Ambulance with AED

Location of the Project: CDRRMO, Tabaco City

Technical Specifications

Bidders must state here either “Comply” or any equivalent term in the column “Bidder’s Statement of Compliance” against each of the individual parameters of each “Specification”. Brand of the item offered, if applicable, shall likewise be indicated in the column provided.

| Item No. | Description | Bidder’s Statement of Compliance |
| --- | --- | --- |
|  | Ambulance |  |
|  | Engine Type: YD25 DDTI 4-Cyl. In-Line, DOHC, 16valve (VGS) |  |
|  | Overall Length: 5080 mm |  |
|  | Height: 2285 mm |  |
|  | Width: 1695 mm |  |
|  | Minimum Road Clearance: 190 mm |  |
|  | Maximum Torque: 356 Nm/2000 rpm |  |
|  | Fuel Tank Capacity: 65L |  |
|  | Fuel System: Common Rail Direct Injection |  |
|  | Installed with Basic LED toplight w/siren & PA system-TBD4126, Red/Blue |  |
|  | Installed with fully collapsible stretcher w/ locking mechanism |  |
|  | With 1 oxygen tank w/ 20 lbs. content and w/ oxygen tank holder |  |
|  | With 1 First Aid Kit and 1 Stethoscope |  |
|  | With 1 Oxygen Tank regulator |  |
|  | With 1 Ambubag combination adult and pedia |  |
|  | With one (1) installed fire extinguisher, 10 lbs |  |
|  | With two (2) installed Florescent lamp |  |
|  | With one (1) installed I.V. Hook w/ strap |  |
|  | Installed with vinyl sticker (4 side Emergency Transport Vehicle name) |  |
|  | With one (1) installed marine plywood ¾” thk |  |
|  | With matting - checkered aluminum plate |  |
|  | Installed with stainless grab/hold bar at the ceiling & right side, ¾” dia. |  |
|  | Installed with stainless ramp approach with spine board cabinet |  |
|  | With 3 single seat with safety belt |  |
|  | With 1 Divider Glass |  |
|  | With 1 Spine board with spider strap |  |
|  | With Dash Camera (Front & Rear); with AM/FM Radio |  |
|  | With 1 set mobile radio (commercial type) including permits and licenses |  |
|  | with Exhaust Fan |  |
|  | Installed with medicine cabinet on the whole left side of the cab |  |
|  | Including LTO Registration for 3 years |  |
|  | Warranty: 3-years warranty or 100,000 kms which comes first |  |
| 2. | AUTOMATED EXTERNAL DEFIBRILLATOR (AED) |  |
|  | With Real CPR Help and CPR Dashboard |  |
|  | High Resolution ECG display |  |
|  | “Real Time” CPR feedback on CPR Rate and Depth |  |
|  | CPR Cycle Timer |  |
|  | Integrated Voice, text and visual prompts |  |
|  | Wifi and USB Connectivity-automatically transmit device status to program management via wifi and push case date |  |
|  | Defibrillator: |  |
|  | Charge Hold Time is 30 seconds. |  |
|  | Energy Selection is factory preprogrammed and user configurable. |  |
|  | All patient connections are electrically isolated. |  |
|  | Charge time is less than 10 seconds. |  |
|  | Defibrillation Advisory: Evaluates electrode connection and patient ECG to determine if defibrillation is required |  |
|  | Patient Impedance Measurement Range: 10 to 300 ohms |  |
|  | Display Format: High Resolution LCD with capacitive touch panel |  |
|  | Data Recording and Storage: User configurable for 1 or 2 clinical events for total of 120 events. Includes ECG, impedance measurements, device prompts, and CPR data. Enabled with voice recording, same data with synchronous audio added for total of 60 minutes. |  |
|  | Data Recovery: Controlled by touchscreen, uploaded to USB memory stick, or over a WiFi network |  |
|  | Device: |  |
|  | Size: (H x W x D): 5.0 in x 9.3 in 9.7 in; Weight: 2.5 kg; 5.5 lbs; Wireless: 802.11 a/b/g/n; Port: USB 2.0 |  |
|  | Power: Litium manganese dioxide battery pack |  |
|  | Inclusions: |  |
|  | 1 – Unit CPR-D Uni-padz-for both adult and pediatric rescue; Sealed litium manganese dioxide; At least Five (5) years shelf life |  |
|  | 1 – Unit Carrying bag |  |
|  | Warranty: 5-years warranty |  |

I hereby certify to comply with all the above Technical Specifications.

Name of the Company/Bidder		     Signature over Printed Name 	         Date

of Authorized Representative